{"text_format":"2","workbook":"xlsx","n_sheets":2,"sheets":["532nm Curve","532nm"],"not_rendered":{"charts":2,"images":2,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[{"sheet":"532nm Curve","index":0,"reason":"not_a_worksheet"}],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"532nm","index":1,"n_rows":233,"n_cols":4,"rows_kept":233,"cut":false,"hidden":false,"merged":[[3,0,3,1],[4,0,4,1],[5,0,5,1],[6,0,11,1],[12,0,13,1]]}
[null,null,"λ (nm)","R (%)"]
[null,null,200,17.62679]
[null,null,202.00399999999999,17.28668]
["Theoretical Coating Data",null,204.02699999999999,16.73921]
["532nm Laser V-Coat",null,206.071,15.99804]
["Coating Specification: Rabs <0.25% @ 532nm",null,208.13499999999999,15.080120000000001]
["This data represents the theoretical performance of the coating per surface and is for reference only. \nVariations in performance may occur, however the coating will achieve the minimum performance specification listed above within the specified wavelength range. For more information please contact our Product and Application Support.\n",null,210.221,14.00586]
[null,null,212.32599999999999,12.79926]
[null,null,214.453,11.48795]
[null,null,216.602,10.103070000000001]
[null,null,218.77199999999999,8.6790199999999995]
[null,null,220.96299999999999,7.25284]
["Not what you're looking for? Click here for a full list of our standard AR coatings.",null,223.17699999999999,5.8632]
[null,null,225.41300000000001,4.5493100000000002]
[null,null,227.67099999999999,3.3492500000000001]
[null,null,229.95099999999999,2.2983600000000002]
[null,null,232.255,1.4274500000000001]
[null,null,234.58199999999999,0.76121000000000005]
[null,null,236.93199999999999,0.31695000000000001]
[null,null,239.30500000000001,0.10374]
[null,null,241.703,0.12214999999999999]
[null,null,244.124,0.36463000000000001]
[null,null,246.56899999999999,0.81628999999999996]
[null,null,249.03899999999999,1.4562299999999999]
[null,null,251.53399999999999,2.1943000000000001]
[null,null,254.054,3.00529]
[null,null,256.59899999999999,3.9030800000000001]
[null,null,259.17,4.8668300000000002]
[null,null,261.76600000000002,5.8763500000000004]
[null,null,264.38799999999998,6.91249]
[null,null,267.03699999999998,7.95763]
[null,null,269.71199999999999,8.9959100000000003]
[null,null,272.41399999999999,10.01333]
[null,null,275.14299999999997,10.997780000000001]
[null,null,277.899,11.93905]
[null,null,280.68299999999999,12.82865]
[null,null,283.495,13.65976]
[null,null,286.33499999999998,14.427020000000001]
[null,null,289.20299999999997,15.126390000000001]
[null,null,292.10000000000002,15.754989999999999]
[null,null,295.02699999999999,16.310949999999998]
[null,null,297.98200000000003,16.79325]
[null,null,300.96699999999998,17.196850000000001]
[null,null,303.98200000000003,17.522559999999999]
[null,null,307.02699999999999,17.784030000000001]
[null,null,310.10300000000001,17.982240000000001]
[null,null,313.20999999999998,18.118510000000001]
[null,null,316.34699999999998,18.194400000000002]
[null,null,319.51600000000002,18.211680000000001]
[null,null,322.71699999999998,18.172339999999998]
[null,null,325.95,18.078489999999999]
[null,null,329.21600000000001,17.93242]
[null,null,332.51400000000001,17.736540000000002]
[null,null,335.84500000000003,17.493359999999999]
[null,null,339.209,17.205490000000001]
[null,null,342.60700000000003,16.87565]
[null,null,346.03899999999999,16.506620000000002]
[null,null,349.50599999999997,16.10127]
[null,null,353.00700000000001,15.673120000000001]
[null,null,356.54300000000001,15.21791]
[null,null,360.11500000000001,14.73677]
[null,null,363.72300000000001,14.23249]
[null,null,367.36599999999999,13.707879999999999]
[null,null,371.04599999999999,13.165749999999999]
[null,null,374.76400000000001,12.60895]
[null,null,378.51799999999997,12.04031]
[null,null,382.31,11.46264]
[null,null,386.14,10.878740000000001]
[null,null,390.00799999999998,10.291370000000001]
[null,null,393.91500000000002,9.7032299999999996]
[null,null,397.86099999999999,9.1169499999999992]
[null,null,401.84699999999998,8.5415299999999998]
[null,null,405.87200000000001,7.9799100000000003]
[null,null,409.93799999999999,7.4266399999999999]
[null,null,414.04500000000002,6.8838400000000002]
[null,null,418.19299999999998,6.35351]
[null,null,422.38200000000001,5.83751]
[null,null,426.613,5.3375899999999996]
[null,null,430.887,4.85534]
[null,null,435.20400000000001,4.3921900000000003]
[null,null,439.56299999999999,3.9494500000000001]
[null,null,443.96699999999998,3.5282200000000001]
[null,null,448.41399999999999,3.1294900000000001]
[null,null,452.90600000000001,2.7540499999999999]
[null,null,457.44299999999998,2.4025400000000001]
[null,null,462.02600000000001,2.07545]
[null,null,466.654,1.7730900000000001]
[null,null,471.32900000000001,1.4956499999999999]
[null,null,476.05099999999999,1.24315]
[null,null,480.82,1.01549]
[null,null,485.637,0.81240999999999997]
[null,null,490.50200000000001,0.63358000000000003]
[null,null,495.41500000000002,0.47849999999999998]
[null,null,500.37799999999999,0.34676000000000001]
[null,null,505.39100000000002,0.23882]
[null,null,510.45400000000001,0.15195]
[null,null,515.56700000000001,8.5440000000000002E-2]
[null,null,520.73199999999997,3.8510000000000003E-2]
[null,null,525.94899999999996,1.035E-2]
[null,null,531.21799999999996,9.0000000000000006E-5]
[null,null,536.53899999999999,6.8300000000000001E-3]
[null,null,541.91399999999999,2.9669999999999998E-2]
[null,null,547.34299999999996,6.7659999999999998E-2]
[null,null,552.82600000000002,0.11985999999999999]
[null,null,558.36400000000003,0.18534]
[null,null,563.95799999999997,0.26313999999999999]
[null,null,569.60699999999997,0.35232999999999998]
[null,null,575.31299999999999,0.45199]
[null,null,581.077,0.56120999999999999]
[null,null,586.89800000000002,0.67910000000000004]
[null,null,592.77700000000004,0.80481999999999998]
[null,null,598.71600000000001,0.93750999999999995]
[null,null,604.71299999999997,1.07637]
[null,null,610.77099999999996,1.22035]
[null,null,616.89,1.36863]
[null,null,623.07000000000005,1.5204599999999999]
[null,null,629.31100000000004,1.6751100000000001]
[null,null,635.61599999999999,1.8319099999999999]
[null,null,641.98299999999995,1.9902299999999999]
[null,null,648.41399999999999,2.1494599999999999]
[null,null,654.91,2.3090600000000001]
[null,null,661.471,2.4684900000000001]
[null,null,668.09699999999998,2.6272799999999998]
[null,null,674.79,2.78498]
[null,null,681.55,2.9411900000000002]
[null,null,688.37699999999995,3.09551]
[null,null,695.27300000000002,3.24763]
[null,null,702.23800000000006,3.3984299999999998]
[null,null,709.27300000000002,3.5494400000000002]
[null,null,716.37900000000002,3.6980300000000002]
[null,null,723.55499999999995,3.8439700000000001]
[null,null,730.803,3.98705]
[null,null,738.12400000000002,4.1271100000000001]
[null,null,745.51900000000001,4.2639699999999996]
[null,null,752.98699999999997,4.3974900000000003]
[null,null,760.53,4.5275600000000003]
[null,null,768.149,4.6540699999999999]
[null,null,775.84400000000005,4.7769199999999996]
[null,null,783.61699999999996,4.8960499999999998]
[null,null,791.46699999999998,5.0113899999999996]
[null,null,799.39499999999998,5.1228999999999996]
[null,null,807.40300000000002,5.2305400000000004]
[null,null,815.49199999999996,5.3342799999999997]
[null,null,823.66099999999994,5.4341299999999997]
[null,null,831.91200000000003,5.5300700000000003]
[null,null,840.24599999999998,5.6221100000000002]
[null,null,848.66399999999999,5.7102599999999999]
[null,null,857.16499999999996,5.7945500000000001]
[null,null,865.75199999999995,5.8750099999999996]
[null,null,874.42499999999995,5.95167]
[null,null,883.18499999999995,6.0245699999999998]
[null,null,892.03200000000004,6.0937700000000001]
[null,null,900.96900000000005,6.1593]
[null,null,909.99400000000003,6.2212399999999999]
[null,null,919.11,6.27963]
[null,null,928.31799999999998,6.3345399999999996]
[null,null,937.61699999999996,6.3860400000000004]
[null,null,947.01,6.4341900000000001]
[null,null,956.49699999999996,6.4790599999999996]
[null,null,966.07899999999995,6.52074]
[null,null,975.75699999999995,6.5592899999999998]
[null,null,985.53200000000004,6.5947899999999997]
[null,null,995.40499999999997,6.6273099999999996]
[null,null,1005.376,6.65665]
[null,null,1015.448,6.6829099999999997]
[null,null,1025.6199999999999,6.7064300000000001]
[null,null,1035.895,6.7272699999999999]
[null,null,1046.2719999999999,6.7455299999999996]
[null,null,1056.7539999999999,6.7612699999999997]
[null,null,1067.3399999999999,6.7745899999999999]
[null,null,1078.0319999999999,6.7855499999999997]
[null,null,1088.8320000000001,6.7942499999999999]
[null,null,1099.739,6.8007499999999999]
[null,null,1110.7560000000001,6.8051199999999996]
[null,null,1121.883,6.8074599999999998]
[null,null,1133.1220000000001,6.80783]
[null,null,1144.4739999999999,6.8063099999999999]
[null,null,1155.9390000000001,6.8029700000000002]
[null,null,1167.518,6.7978800000000001]
[null,null,1179.2139999999999,6.7911200000000003]
[null,null,1191.027,6.7827400000000004]
[null,null,1202.9590000000001,6.7728299999999999]
[null,null,1215.01,6.76145]
[null,null,1227.181,6.7486600000000001]
[null,null,1239.4749999999999,6.7345199999999998]
[null,null,1251.8920000000001,6.7191099999999997]
[null,null,1264.433,6.7024699999999999]
[null,null,1277.0999999999999,6.6846800000000002]
[null,null,1289.893,6.6657799999999998]
[null,null,1302.8150000000001,6.6458399999999997]
[null,null,1315.866,6.6249200000000004]
[null,null,1329.048,6.6030499999999996]
[null,null,1342.3630000000001,6.5803099999999999]
[null,null,1355.81,6.5567299999999999]
[null,null,1369.3920000000001,6.5323700000000002]
[null,null,1383.11,6.5072700000000001]
[null,null,1396.9659999999999,6.48149]
[null,null,1410.96,6.4550599999999996]
[null,null,1425.095,6.4280400000000002]
[null,null,1439.3710000000001,6.4004599999999998]
[null,null,1453.7909999999999,6.3723700000000001]
[null,null,1468.354,6.3437999999999999]
[null,null,1483.0640000000001,6.3147900000000003]
[null,null,1497.921,6.28538]
[null,null,1512.9269999999999,6.2571199999999996]
[null,null,1528.0830000000001,6.2287600000000003]
[null,null,1543.3910000000001,6.2000799999999998]
[null,null,1558.8520000000001,6.1711200000000002]
[null,null,1574.4680000000001,6.1418999999999997]
[null,null,1590.241,6.1124599999999996]
[null,null,1606.171,6.0828100000000003]
[null,null,1622.2619999999999,6.0529999999999999]
[null,null,1638.5129999999999,6.0230399999999999]
[null,null,1654.9269999999999,5.9929600000000001]
[null,null,1671.5060000000001,5.96279]
[null,null,1688.251,5.9325400000000004]
[null,null,1705.163,5.9022399999999999]
[null,null,1722.2449999999999,5.8719000000000001]
[null,null,1739.498,5.8415600000000003]
[null,null,1756.924,5.8112199999999996]
[null,null,1774.5239999999999,5.7809200000000001]
[null,null,1792.3009999999999,5.7506500000000003]
[null,null,1810.2560000000001,5.72044]
[null,null,1828.3910000000001,5.6903199999999998]
[null,null,1846.7070000000001,5.6602800000000002]
[null,null,1865.2070000000001,5.63035]
[null,null,1883.8920000000001,5.60053]
[null,null,1902.7639999999999,5.5708500000000001]
[null,null,1921.826,5.5413199999999998]
[null,null,1941.078,5.5119400000000001]
[null,null,1960.5229999999999,5.4827300000000001]
[null,null,1980.163,5.4536899999999999]
[null,null,2000,5.4248399999999997]